## Tool Index
USDN Resilience Hub Analysis Tool
This Reslience Hub Analysis Tool provides the templates, models, and checklists necessary to deploy Resilience Hubs in your community. USDN updates these tools and databases regularly to provide specific guidance based on best practices from USDN Resilience Hubs and similar projects. We rely on members to provide data that help improve the overall results.
Getting Started
Select Project Team
Phase 1: Assess Vulnerability & Select Service Area
Assess Exposure
Assess Sensitivity & Adaptive Capacity
Select Service Area | Produce Budget & Finance Strategy
Identify Existing Resilience Plans and Support Tools
Phase 2: Establish Project Teams, Build Partnerships, and Set Goals
Build Partnerships with Community Members & Organizations
Select Resilience Hub Team
Set Goals with Residents and Community Organizations
Build Partnerships with the Utility
Phase 3: Identify & Evaluate Sites
Site Selection
Prioritize & Assess Sites
Assessments
Kitchen/Food Preparation Assessment
Security Assessment
Policy & Regulation Assesment
Resilence Audit
Energy Audit
Site Audits
Evaluate Resilient Power Options
Phase 4: Identify Resilience Solutions
Resilient Sites
Resilient Power
Resilient Communications
Resilient Operations
Identify Key Staff & Staff Roles
Feasibilty Analysis
Collect Information & Data
Phase 5: Develop Sites & Install Solutions
Project Management
Produce Budget & Finance Strategy
Phase 6 - Activate Site & Operations

## 2. ProjectTeam
USDN Resilience Hub Analysis Tool
Project Team
Developing a Resilience Hub requires a core group of committed people. The Resilience Hub Planning Team should include community members, community-based organizations, residents, and experts in the areas where a Resilience Hub supports municipal and community functions before, during, and after a hazard event. Each Resilience Hub team will include many stakeholders and require various skills and capacities to meet their goals. Prioritize recruiting partners to fill roles from the service area, or recruit stakeholders from beyond the resilience hub service area in partnership with host community. Brainstorm potential members below:
Role | Responsibilities | Skill Set | Potential Source | Name(s)
Team Lead | Charter Project, Manage Team, Manage Deliverables | Project Management | Local Government Staff or NGO or CBO Staff
Program Manager | Develop Specifications, Produce RFPs, Design & Engineer Solutions, Manage Procurement, Manage Installation | Design & Engineering, Project Management, operations | In-house Staff or Consultant
Community Based Organizations | Bring Local Knowledge, Facilitate Community Input/Engagement | Relationship Building, Facilitation, Communications | Local Neighborhood
Neighborhood Leaders | Ensure Community Needs are Valued and Understood. Local Perspectives, Experience and Knowledge | Neighborhood Knowledge, Relationships, Support | Neighborhood
Finance | Identify Opportunities and Seek Funding, Coordinate with Site Leads & Other Stakeholders | Financial Analysis Accounting Project Finance | CFO (staff, board or both)
Programming | Coordinate Year-Round Community Benefits with Site Leaders and Community, Emergency Operations Processes | Emergency Mgmt., Health, & Planning, Sustainability | Local Government Staff
Equity | Coach and Support Project Team. Ensure Community Needs are Prioritized. Assist with additional community research. | Race, Equity and Inclusion Expertise | DEI Consultant
Local Business Representatives | Identify Business Community Needs, Ensure Local Business Input is valued | Business Case for Resilience | Chamber of Commerce, Neighborhood

## 3. Site Team
USDN Resilience Hub Analysis Tool
Site Team
Resilience Hubs require a unique set of stakeholders and implementation partners. Due to the type of enhancements and upgrades Hubs undergo, the project team will need to include partners from several sectors and specialty groups. These team members should be determined based on the specific needs of the community and with community input. The larger project team may include several of the roles in the table below, which you can use to brainstorm members.
Role | Responsibilities | Skill Set | Potential Source | Name(s)
Resilient Hub Operator | Operate the facility in disruption and recovery | Minimize operating costs Coordinate operationalization of Hub | CBO, NGO or Community
Property Owner | Hosts the Resilience Hub and its assets | Satisfied tenant Enhancement of property value Healthy neighborhood | Identified by CBO and Community
Neighborhood | Use the Resilience Hub Services Support Resilience Hub development | Participate in needs inventory Receive community services (child care, senior care, etc.) Receive support during disruption Receive support during recovery | Neighborhood
Local and State Government | Provide resources (logistical, administrative and other) Potential Funding Support | Maximize impact of over-allocated resources during an event Expedite and effect a rapid recovery Support proactive capacity building | Local Agencies State Agencies
First Responders | Provide support during hazard events | Provide services effectively and efficiently during and after disruption Build trust and relationships year-round with community | Local OEM Local Fire Local Police
Federal Agencies & Relief Organizations | Provide support and resources to communities during events | Efficient access to community members Provide resources based on community-identified needs | FEMA National Guard
Resilient Power Consultant | Provide renewable energy options and support Provided energy conservation measure (ECM) options & support Provide financing support | Produce techno-economic feasibility analyses for energy solutions Provide energy audits Identify financing alternatives | Microgrid or Resilient Power Consultant, Solar + Storage vendors, Energy Services Company (ESCO)
Consulting Engineer | Develop Deliverables Collect Data Conduct Analyses Manage Subcontractors | Design, engineering, construction | Engineering Firm
Facilities Operations | System Operations System Maintenance Site Operations | MEP Operations Familiarity with Site | Community Members, CBO Staff
Construction | Design, Engineer, Procure & Construct Project Manage Subcontractors, Procure Permits & Licenses | Engineering Construction | EPC Firm
Hospitals & Health Care | Provide resources & basic medical Provide emergency and community health care | Reduce stress on facilities during hazard events from community members seeking lower-impact health care needs Consider “adopt-a-hub” and support communities by assigning medical professionals to certain sites | Local Hospital, Health Care Networks
Electric Utility | Provide technical support Facilitate permitting and interconnection. | Expand the toolbox of resilience assets during events. Seamlessly integrate distributed generation and other new technologies | Utility
Stormwater Utility | Provide technical support | Make sure the site will not be subject to flooding or has minimal impacts from flooding | Local stormwater association
Soil/Local Food Expert | Provide local food growing options/support | Assess soil conditions Support local food generation onsite Organize access and distribution | Local NGO Local CBO Institution
Lawyer or Legal Team | Manage contracts Guidance on deal structure | Determine optimal legal structure for Resilience Hub Review all contracts and documents Review risk management strategies | Community Law Center
Insurance Representative | Provide Risk Management Tools | Assist with insurance considerations related to Hub uses | State Insurance Rep
Accountant/CFO | Finance guidance Tax guidance Financial management | Advise on accounting treatment of various solutions Evaluate tax implications of various strategies Optimize capital structure of finance | NGO CBO

## 4. Program Goals
USDN Resilience Hub Analysis Tool
Program Goals
After identifying the service area and building a team of partners, it is important to collaborate with residents and community members to identify context-specific goals for the project. Based on the vulnerability assessment and needs assessment, teams will discuss and establish goals for topics such as: 1) the services and activities the hub will support year-round, 2) the building’s electricity supply, 3) non-emergency services the Hub will provide, and 4) how the hub can support financial stability in the neighborhood. Residents and project partners work together to choose every day, disruption, and recovery mode goals in each category.
Example Goals
Community (C), Physical & Building (PB), and Financial (F)
| Normal/Everyday | Disruption | Recovery | Notes
Basic | - Location is trusted and programming is in consultation with community served (C) - Provide natural system services such as absorbing stormwater, providing shade and reduce surrounding air temperature (PB) - Hub employs local residents and provides job training (F) | - Provide community’s basic needs (shelter, food, water, communication) for at least first 72 hours (C) - Provide power for necessary services for up to 72 hours (PB) - Educate residents about neighborhood and family emergency preparedness (F) | - Provide one-stop connection to necessary recovery resources (C) - Open doors for community gathering immediately following disruption (PB) - Connect residents to information about recovery funds (F)
Mid-Level | - Reduce carbon emissions while minimizing operational requirements (PB) - Hub co-located at existing community-trusted service provider and reduces operating costs (F) | - Provide 70% of normal power load for up to 72 hours (PB) - Reduce need for residents to buy emergency supplies, pay for shelter, or travel out of neighborhood (F) | - Provide core functions immediately following disruption (PB) - Reduce recovery costs for community-trusted service provider (F)
Best Practice | - Community owns facility - Hub employs local residents and provides job training; and services, activities, and physical spaces are programed for residents by residents (C) - Produce 100% of electricity demand carbon-free and on-site while minimizing operational requirements and reducing costs or providing revenue for the community (PB) - Hub reduces utility costs and/or provides revenue for the community (F) | - Provide 100% of normal power load for up to 72 hours (PB) - Provide community’s basic needs (shelter, food, water, communication) for duration of disruption (C) - Island from grid and run continuously, with as little fossil fuel as possible (PB) - Provide access to free individual preparedness materials and emergency supplies (F) - Reduce the need for residents to pay for shelter or travel out of neighborhood (F) | - Provide one-stop connection and case management for all necessary recovery resources (C) - Return to everyday functioning immediately following disruption (PB) - Connect residents to all available recovery funds; decrease processing time for funds to reach neighborhood; help residents bulk purchase recovery materials (F)

## 5. Services & Specs
USDN Resilience Hub Analysis Tool
Select Services & Identify Performance Specifications
The table below is an example of selected service areas and performance specifications related to each of the three modes (Normal, Disruption, and Recovery) a Resilience Hub serves. This worksheet can help guide Project Teams to prioritize the range of possible services a Hub can provide and set specific performance specifications. Please note, all the services listed are not required for a Hub to function or meet community needs. Project Teams can select and prioritize services based on their vulnerability and needs assessment and with community guidance and input.
Potential Services | Priority (0-3) | Operating Considerations Normal Mode | Operating Considerations Disruption Mode | Operating Considerations Recovery Mode
Food Preparation
Food Storage
Water & Ice
Cooling/Heating Relief
Child Care
Restrooms
Showers
Basic Medical Supplies
Medical Support (onsite)
Access/Support for low-mobility residents
Briefings & Meeting Space
Activation Communications
OEM Communications
Response Coordination
WiFi Access
Phone Charging Stations
Logistical Support (first responders)
Logistical Support (community members)
Counseling and Trauma Support
Activities and Programming
Animals/Pet Services
Banking Services and Financial Literacy
Resources for Visually Impaired
Maker-Space and/or Citizen Science Space
Waste Disposal
Tree Canopy/Shading
News & Information
Local Food Generation
Tool Checkout
Transportation
Sheltering

## 6. Site Survey
USDN Resilience Hub Analysis Tool
Site Survey
*Create a separate survey form for each site
Surveyor | Name | Phone | Email
Date | Date
General |  |  |  |  | Notes | Resilience Experience | # of events | Duration | Impact | Notes
Facility Name | [5 empty] | Flooding
Facillity Address 1 | [5 empty] | Power Outage
Facility Address 2 | [5 empty] | Storm Damage
Property Owner | Name | Phone | Email | Tax Status |  | Major Equipment Failure
Property Manager | Name | Phone | Email |  |  | Other
Community-Based Organization | [5 empty] | Other
Organization Name | [5 empty] | Hazard Mitigation Plan?
Organization Director | Name | Phone | Email |  |  | Weatherizaiton Upgrades
No. of Staff | [5 empty] | Energy Audit
Services Provided | [5 empty] | Other Study
Facility Uses | # Users | Hours
Use 1 | [5 empty] | Financial
Use 2 | [5 empty] | Sources of Funding | Fees | Grants | Government | Donations | Other
Use 3 | [5 empty] | Capital Improvement Budget | Yes/No | Amount
Constituents Served | [5 empty] | Annual Operating Budget | Yes/No | Amount
Facility | [5 empty] | Utility Data | Meter Number | Rate Class | Load Served | Months of Data
Facilty Age | [5 empty] | Electric
Square Footage & Floors | Square Feet | Floors |  |  |  | Utility Name:
Primary Construction Type | [5 empty] | Meter 1
Meeting Rooms | [5 empty] | Meter 2
Residential Units | [5 empty] | Meter 3
Office Units | [5 empty] | Load Forecasts
Food Preparation | [5 empty] | Interval Data
Food Storage | [5 empty] | Retail Power Supplier?
Bathrooms |  | #
Showers |  | # |  |  |  | Natural Gas
Offices |  | # |  |  |  | Utility Name:
Storage | [5 empty] | Meter 1
Roof Type | Type | Access | Age | Condition |  | Meter 2
As-Built Drawings | Yes | No |  |  |  | Meter 3
Electric Bills | Yes | No
Natural Gas Bills | Yes | No |  |  |  | Water Utility
Heating Oil Bills | Yes | No |  |  |  | Utility Name:
Water Bills | Yes | No
Telecom Bills | Yes | No |  |  |  | Meters
Meter 1
Property | [5 empty] | Meter 2
Property Area | [5 empty] | Meter 3
Fields & Playgrounds
Parking Lots | [5 empty] | Solar
Fences & Gates | Yes | No |  |  |  | Existing System | YES | NO
Other | [5 empty] | Area to Mount | Roof | Ground | Parking Lot
Resiience Features | [5 empty] | Generator | Manufacturer | Fuel Type | Tank Capacity | Capacity (kW) | Capacity (kW)
Facility | Floodproofing
Power | Generator | Solar | Battery
Internet | WiFi
Communications | Phones
Operations
Security | Cameras | Gates & Locks | Pass Keys
Services
Personnel
Facility Safety Checklist
Exits
□ Marked and lighted?
□ Free from obstructions?
□ Any doors or passage ways locked?
□ Plans existing for upper floor evacuation?
□ Contingency plans for persons with mobility issues?
□ Maps in strategic locations showing exits?
Electrical and Gas Equipment
□ Where are the breaker switches or fuse boxes? Are all breakers marked? Gas wrench?
□ Are there clear, legible instructions on how to shut-off water and gas valves?
□ Are switches and outlet boxes covered?
□ Are electrical units grounded?
□ Any circuits overloaded?
□ Any equipment in use after hours? Where?
□ Where is the gas main or meter shut-off valve?
Miscellaneous
□ Location of keys for all doors and buildings? Who has spare set of keys?
□ Location of first-aid kit? Is it fully stocked? Who is responsible for maintaining it?
□ Location of wheelchair and/or stretcher? Who is responsible for maintaining it?
□ Location of battery operated radio? Who is responsible for maintaining it?
□ Location of emergency water and food supply? Who is responsible for maintaining it?
Firefighting Equipment
□ Extinguishers fully charged, inspected, and tagged?
□ Extinguishers appropriate for type of use?
□ Staff trained on using extinguishers?
□ Are fire alarms maintained and checked regularly?
□ Are smoke detectors maintained and checked regularly?
Chemicals
□ Are there any combustible, toxic, or corrosive materials stored in the facility?
□ Where? Are they stored correctly?
Emergency Phone Numbers
□ Is the list current and posted visibly from outside?
□ Does the EMS and Fire Department know the different areas of your facility to enable
them quick access?
Emergency Medical
□ First Aid supplies
□ Automated External Defibrillator (AED)
□ Cardiopulmonary Resuscitation (CPR)

## 7. Security Assessment
USDN Resilience Hub Analysis Tool
Security Assessment
Creating a baseline assessment of security solutions for the Resilience Hub requires an audit of the facility with a particular eye on what may be needed to protect both people and critical assets in all three operating conditions. Security precautions for a specific Resilience Hub may differ based on the Hub’s location and established community goals. At a minimum, community members and people working or volunteering at the Hub should feel safe in and around the site.
Baseline |  | Notes
🔲 | Have you had security issues in the past?
🔲 | Do employees feel safe in and around the site?
🔲 | Do community members feel safe in and around the site?
🔲 | Do you know of security issues with nearby homes/buildings?
System |  | Notes
🔲 | Have you had security issues in the past?
🔲 | Do you have an existing security system?
🔲 | What parts of the building does it protect?
🔲 | Doors
🔲 | Windows
🔲 | Exterior (Street, Parking lot)
🔲 | Interior Rooms/Spaces
🔲 | Does the system meet your needs?
🔲 | Is it easy to use?
🔲 | Do you feel protected?
🔲 | What do you like about it?
🔲 | What do you not like about it?
🔲 | What do you want in a security system that you do not have now?
🔲 | How does the system alert you to a trigger (alarm, voice, text, phone call)?
Building |  | Notes
🔲 | How many entrances?
🔲 | How many windows?
🔲 | How are they secured?
🔲 | Where is the building located?
🔲 | Near a busy/quiet street?
🔲 | Strip mall/commercial building?
🔲 | Are there alleys, unused/unseen areas around the building?
🔲 | Does the building have exterior lighting? 24 hours?
🔲 | What is the physical construction of the building (steel, glass, wood, concrete)?
🔲 | Is there a parking lot? Is it restricted?
🔲 | Is the building open to the general public? If so, when?
🔲 | Are there other tenants in the building?
🔲 | Does the building host special events open to the public?
🔲 | Does the building owner provide security?
🔲 | Does the building have elevators or stairwells? Do they have security and access control?
Operations |  | Notes
🔲 | How many employees?
🔲 | Do you want the system to identify employees?
🔲 | Are there interior rooms that require access control/alarm?
🔲 | Have you identified a contact list in the event of alarm triggers?
🔲 | Do employees from other locations sometimes work in this office?
🔲 | Do employees from this office work in other locations?
🔲 | Do employees need different levels of access?
🔲 | Where do employees park? Does it have security?
🔲 | Is the office empty for periods during the day (everyone leaves for lunch)?
🔲 | What items of value are stored in the office? Where?
🔲 | Do you have a safe or vault?

## 8. Kitchen Assessment
USDN Resilience Hub Analysis Tool
Kitchen/Food Preparation Survey
Gathering information on a site’s existing food service operations will help a Hubs team evaluate the current and potential capacity of the kitchen for food service before, during, and after a disruption.
KITCHEN ASSESSMENT: Equipment |  |  | Notes
Location: Date:
Commercial kitchen? | o Yes o No If Yes, what type of license: o High Priority o Moderate Priority o Low Priority
Sinks | Handwashing sink | o Yes o No
| Two-compartment sink | o Yes o No
| Three-compartment sink | o Yes o No
| Food Prep Sink | o Yes o No
Other:
Dishwasher | Dishwasher | o Yes o No o Commercial
Other:
Cold Storage | Fridge/Freezer Combo | o Yes o No | Number:
| Fridge (no freezer): | o Yes o No | Number:
| Freezer (no fridge) | o Yes o No | Number:
| Cooler | o Yes o No | Number:
Other:
Cooking equipment | Microwave | o Yes o No
| Oven | o Yes o No | o Commercial
| Stove top/range | o Yes o No | o Commercial o Gas power
| Exhaust Hood | o Yes o No
| Toaster oven | o Yes o No | o Commercial
Other:
Food Prep | Food prep table/space | o Yes o No
| Food Scale | o Yes o No
Other:
Other | Floor Drains | o Yes o No
Other:
Other:
KITCHEN ASSESSMENT: Non-Equipment |  |  | Notes
Meal service | Disposable Plates, Bowls | o Yes o No
| Disposable Utensils: forks, knives, spoons | o Yes o No
| Napkins | o Yes o No
| Disposable cold drink cups | o Yes o No
| Disposable hot drink cups | o Yes o No
Other:
Cookware | Pots | o Yes o No
| Pans | o Yes o No
| Baking sheets | o Yes o No
| Mixing bowls | o Yes o No
Other:
Thermometers | Thermometers for equipment (oven, fridge, freezer, deep freezer) | o Yes o No
| Thermometers for storage room | o Yes o No
| Humidity control for dry storage | o Yes o No
| Thermometers to check food temperature | o Yes o No
Other:
Food Prep and Service | Serving bowls and dishes | o Yes o No
| Measuring cups and spoons | o Yes o No
| Cutting boards | o Yes o No
| Knives | o Yes o No
| Ladles | o Yes o No
| Spatulas | o Yes o No
| Whisk | o Yes o No
| Spoons | o Yes o No
| Tongs | o Yes o No
Other:
Other:
Storage/Shelving | Food storage containers | o Yes o No
| Plastic tubs | o Yes o No
| Shelves | o Yes o No
Other:
Other:
Cleaning supplies | Washer/Dryer | o Yes o No
| Broom and dustpan | o Yes o No
| Mop and mop bucket | o Yes o No
| Bleach | o Yes o No
| pH strips | o Yes o No
| Paper towels and dispenser | o Yes o No
| Antibacterial Soap | o Yes o No
| Instant hand sanitizer | o Yes o No
| Liquid dish soap | o Yes o No
| Cleaning cloths/towels | o Yes o No
| Disposable gloves, hairnets, aprons | o Yes o No
Other:
Other:

## 9. Resilience Solutions
USDN Resilience Hub Anlaysis Tool
Resilience Solutions
A Resilience Hub must be resilient itself and provide services before, during, and after an event. Consider solutions in four key areas: structure & site, power, communications, and operations. As the team considers these options, evaluate the relative importance of each measure, the current status of onsite solutions, order of magnitude cost estimates, and foreseeable constraints that may present challenges.
Resilient Structure & Site | Measures to strengthen the resilience of the facility itself to ensure that it meets operational goals in all conditions.
Floodproofing | Current | Priority | Capital Cost | Operating Cost | Notes
Wet Floodproofing |  |  |  |  | Solutions include engineered flood vents, water-resistant building materials, and elevating equipment.
Dry Floodproofing |  |  |  |  | Solutions include flood gates, backflow preventers on drains, sealing openings in walls and foundations, sump pumps and waterproof enclosures.
Site Perimeter Floodproofing |  |  |  |  | Sand bags, water-inflated tube systems and flood panels.
Elevated Equipment |  |  |  |  | Relocate mission-critical mechanical and electrical equipment (elevator controls, HVAC, generators, fuel tanks) to the roof or other areas above the flood level.
Water Storage | Current | Priority | Capital Cost | Operating Cost | Notes
Water Storage (potable) |  |  |  |  | Solutions range from spare tanks (usually on larger, taller facilities) to spare jugs or cases. Improved efficiency will help stretch water supply, while rainwater storage helps with non-potable uses. resilient power solution should consider supply to water pumps (if used) as part of the critical load panel.
Water Storage (non-potable)
Sanitation | Current | Priority | Capital Cost | Operating Cost | Notes
Backlow Valves
Sump Pumps
Windproofing
Fuel Supply | Current | Priority | Capital Cost | Operating Cost | Notes
Vuel Supply (heating oil) |  |  |  |  | Ensuring an adequate supply of fuel can be a significant challenge and will depend entirely on the facility. A facility that uses natural gas will be reliant on the pipeline. Onsite storage is typically not feasible. Propane (a different and not interchangeable fuel as natural gas) can be stored in tanks but requires re-fueling.
Fuel Supply (diesel)
Fuel Supply (propane)
Fuel Supply (gasoline)
Fuel Supply (natural gas)
Stormwater Management | Current | Priority | Capital Cost | Operating Cost | Notes
Energy Efficiency | Current | Priority | Capital Cost | Operating Cost | Notes
LED Lighting
HVAC Upgrades
Insulation
Windows
Water Efficiency | Current | Priority | Capital Cost | Operating Cost | Notes
Security | Current | Priority | Capital Cost | Operating Cost | Notes
Cameras
Audio
Access Control
Intrusion Detection
Gates
7. Food Preparation & Storage
Food Storage & Preparation | Current | Priority | Capital Cost | Operating Cost | Notes
Cold Storage
Dry Storage
Cooking Capacity
Preparation Areas
Resilient Power | Measures not only to ensure uninterrupted power to the facility during a hazard but also to improve the cost-effectiveness and sustainability of operations in all three operating modes.
| Current | Priority | Capital Cost | Operating Cost | Notes
Hybrid Resilient Power Solution
Solar PV |  |  |  |  | Power generated using solar radiation. Installation can be on roof, ground or parking lots.
Energy Storage
Generator |  |  |  |  | Conventiona generators using gasoline, diesel, natural gas or propane.
Resilient Communications | Measures to ensure the ability to communicate outside of the hazard area, maintain IT systems and access information.
| Current | Priority | Capital Cost | Operating Cost | Notes
Network Infrastructure
Technology Exposure Considerations
WiFi
Off-Site Data Storage
Uninterruptible Power Supplies
Operations & Maintenance
Monitoring Software
Switches
Communications Protocols
Resilient Operations | Measures to ensure the continued operation of the facility in all modes
| Current | Priority | Capital Cost | Operating Cost | Notes
Identify Key Staff and Staff Roles
Staff Trainings

## Glossary
USDN Resilience Hub Action Tool
Glossary
Term | Definition
100-year storm event | Storm designation based on statistical changes of occurrence. A 100-year storm has a 1 in a 100 chance of occurring in a particular year. It is also referred to as 1% annual chance event.
Action alternative | A method for adapting to the potential impacts of climate change. One of many measures that could be taken to address climate change impacts. In economic analysis, adaptation actions are also called adaptation interventions.
Adaptation | Adjustment in natural or human systems in anticipation of or response to a changing environment in a way that effectively uses beneficial opportunities or reduces negative efforts.
Adaptation intervention merit (or measures of adaptation merit) | The adaptation intervention measure of merit is the metric applied to determine the economic feasibility of the action alternative. This measure can be the Benefit Cost Ratio, Net Present Value, Internal Rate of Return, or the Payback Period.
Adaptive management | Adaptive management is an iterative, informed learning technique that adjusts management interventions in the face of uncertain outcomes.
Ancillary benefit | Secondary or supplementary benefit that accompanies a prime benefit.
Annual chance event (ACE) | See 100-year storm event.
Avoided loss | Avoided loss represents the extent of property and assets that are protected by the action alternative that can be easily given a direct monetary value (or monetized) from an economic point of view. See also “direct benefit.”
Benefit cost analysis | A benefit cost analysis is a systematic, quantitative technique that compares the present values of all benefits to the present value of related costs, (where benefits can be valued in dollars the same way as costs) in order to identify the alternatives that maximize the present value of the net benefit of the program, and to select the best combination of alternatives using the cost/benefit ratio.
Benefit cost ratio (BCR) | The benefit cost ratio is the ratio of the cumulative present value of benefits divided by the cumulative present value of costs. Where the ratio is greater than one, the action is considered economically feasible or viable.
Benefit streams | Benefit streams are annual benefits over the life of a given action item alternative.
Benefits transfer | Benefits transfer is a technique that applies or adapts the monetary values estimated from an existing empirical primary study to a subject study site or area. The method is applied where resources (time, money, technical expertise) may not be available to carry out a primary empirical study at the subject study site.
Built infrastructure | Built Infrastructure is referred to as capital improvements to land ("Class 2" property) in DoD. Class 2 property can include improvements such as buildings, structures, ground improvement structures, and utilities systems. Class 2 property also includes installed or "built-in" equipment. This built-in equipment is accessory equipment and furnishings that are: engineered and built into the facility as an integral part of the final design, required for operation, and are permanently affixed as part of the real property facility.
Climate | Mean and variability of relevant quantities of the climate system over a period of at least a month. These quantities are most often surface variables such as temperature, precipitation, and wind. Climate in a wider sense is the state of the climate system, often characterized through statistics that may include the mean, standard deviation, and statistics of extremes, etc. A typical period of time over which to characterize the state of the climate system is 30 years, as defined by the World Meteorological Organization.
Climate change | Variations in average weather conditions that persist over multiple decades or longer that encompass increases and decreases in temperature, shifts in precipitation, and changing risk of certain types of severe weather events. This term and its definition are proposed for inclusion in the next edition of Joint Publication 1-02.
Climate change ‘signals’ | Trends or tipping points that may point to the need to implement or reevaluate adaptation measures. See the Handbook text on page IV-5 for more context.
Climate phenomenon | Factors or components of climate, including first order phenomena such as precipitation, temperature, and wind, and second order phenomena such as sea level and extreme temperatures.
Climate projection | Potential future evolution of a quantity or set of quantities, often computed with the aid of a model. Projections involve assumptions or scenarios concerning, for example, future socioeconomic and technological developments that may or may not be realized and are therefore subject to substantial uncertainty.
Climate scenario | Plausible and often simplified representation of future climate, based on an internally consistent set of climatological relationships and assumptions of GHG levels, typically constructed for explicit use as input to climate change impact models. A “climate change scenario” is the difference between a future climate scenario and the current climate.
Climate variability | Variations of climate on all temporal and spatial scales beyond that of individual weather events. Variability may be due to natural internal processes within the climate system, or due to variations in natural or anthropogenic external forcing.
Co-benefits | Added (or multiple) benefits or synergies that may result from adaptation action. They do not include direct benefits.
Collateral benefit | A collateral benefit is a type of benefit that may arise as an incidental outcome of the alternative action that is generating the primary benefit of the management action’s focus.
Confidence level | The confidence level is the statistical likelihood (probability) that a random variable lies within the confidence interval of an estimate.
Cost Effectiveness Analysis (CEA) | Cost effectiveness analysis (CEA) seeks to find the best alternative activity, process or intervention that minimizes resource use to achieve a desired result. Alternatively, when resources are constrained, analysis that seeks to identify the best alternative that maximizes results for a given application of resources. CEA is applied when project effects can be identified and quantified (through physical metrics) but not adequately valued in monetary terms.
Alternating Current (AC): | The electrical current delivered by the main power grid in which electrical current that reverses direction periodically. Solar PV produces Direct Current (DC) which must be converted to AC for use by most appliances.
Ancillary Services: | Services in addition to the delivery of energy that help stabilize the grid and that can include such as voltage and frequency regulations.
Anti-Islanding: | Strategies and components used during grid outages to disconnect distributed generation (like solar PV) from the grid both for safety (preventing injury to lineworkers by feeding power back onto the grid) and damage to equipment. Distributed generators must detect islanding and immediately disconnect from the circuit.
Behind the Meter (BTM): | A system that produces power primarily for on-site use that may export excess generation to the grid but is not intended to provide solely to the grid.
Authority Having Jurisdiction (AHJ): | Entities that enforce codes and standards regulating aspects of power system including planning & zoning, building departments, fire departments, utilities, environmental agencies and others.
Battery Chemistry: | The combination of chemicals present in an electrochemical battery; common battery chemistries used for commercial-scale energy storage include: lead-acid, Li-ion, and vanadium redox flow batteries
Charge Controller: | A device that regulates electric current flowing to or from a battery.
Combined heat and power (also cogeneration): | Onsite power architectures designed to optimize efficiency by providing both electricity and useful heat.
Combiner Box: | A feature of PV systems that combine wiring from array strings.
Critical Load: | Electrical loads including appliance, lights and devices that a property owner deems vital to a building during an outage
Direct Current: | Electricity that flows in a single direction such as that produced by batteries or solar PV systems.
Demand charge: | A component of an electric rate tariff bill (typically for commercial customers) that charges variable and are based on the peak rate at which energy is consumed during any single period during the month – consuming a lot of energy in a short period of time will result in a high peak demand charge even if very little energy is consumed during other times.
Demand management: | Strategies used to reduce or control peak energy demand.
Demand response: | The practice of reducing the amount of electricity drawn from the grid in response to requests from the utility typically during peak
Direct ownership: | A structure in which the facility that hosts a system also owns the system and receives the benefits from it.
Distributed generation: | Power generation typically located at the site where it is consumed and thus not centralized like most power plants.
Dual Inverters (also “grid-forming inverters): | Inverters that allow operation whether the system is connected or disconnected from the grid.
Energy: | The capacity to do work measured in Joules or kilowatt hours.
Grid-Tied: | A solar, storage or Resilient Power system that connects back to the power grid.
Grid-Tied Inverter: | An inverter that must be tied to the grid in order to function.
Host: | The facility or property on which a distributed generation system is located. Depending on the ownership model, the Host need not be the system Owner nor the Offtaker.
Internal Rate of Return: | A metric to evaluate an investment over time and that reflects the discount rate required to make the net present value of an investment equal zero.
Islanding: | When an onsite power system continues to provide power during a power outage potentially creating safety hazards and damage to equipment unless measures are in place to isolate it from the grid.
Inverter: | A device that converts direct current to alternating current.
Kilowatt (kW): | 1,000 watts of electrical power.
Kilowatt Hour (KWh): | 1,000 watts of electrical power delivered over 1 hour . C99:C100
Megawatt: | 1,000,000 watts of electrical power
Microgrid | A group of interconnected loads and distributed energy resources within clearly defined electrical boundaries that acts as a single controllable entity with respect to the grid. A microgrid can connect and disconnect from the grid to enable it to operate in both grid-connected or island-mode.” [U.S. Department of Energy definition]
Microinverters: | Inverters that connect directly to solar panels for the purpose of converting DC to AC .
Offtaker: | The buyer of power produced from a distributed generation system.
Peak Shaving: | A strategy of shifting demand for energy from peak times to other times of day in order to reduce cost.
Power Grid: | An interconnected network that links electricity generators and consumers
Power: | Rate at which work is done or the amount of energy transferred per unit time.
Power Purchase Agreement: | A financial agreement between the owner of a distributed generation system and the entity that purchases the power.
Resilience: | The ability to anticipate, accommodate and positively adapt to or thrive amidst changing climate conditions, while enhancing quality of life, reliable systems, economic vitality and conservation of resources. Resilience differs by setting, facility and community.
Resilient Power: | Power systems that offer the ability not only to provide critical power to essential facilities and services during a power outage, but also to provide economic benefits throughout the year, by reducing power bills and generating revenue through providing services to utilities and grid operators
Stand-Alone Inverters: | Inverters designed for off-grid applications in which the PV array charges batteries before the inverter converts to AC power for use.
Technical Assistance Fund (TAF): | Grants provided by the Clean Energy Group’s Resilient Power Project, a joint initiative of Clean Energy Group and Meridian Institute, intended to pay for third-party technical services and predevelopment costs associated with resilient power projects.
Third-Party Owned: | A form of asset ownership used in distributed generation systems where the Host does not own the system on its property, and instead a separate party owns the asset often because the Host cannot take advantage of tax incentives that a third-party can.
Virtual Microgrid: | A strategy to coordinate operations and resilient power systems in multiple buildings located in a localized geographic area to approximate the economic and resilience benefits of a microgrid.
Critical threshold | For infrastructure, structural or operational limit, beyond which function will be impaired or lost. For example, the height of a levee intended to provide protection against flooding is considered a critical threshold.
Cumulative benefits | Cumulative benefits are the sum total of all direct, indirect and collateral benefits generated from an action alternative.
Decision trajectory | A timeframe over which an action alternative needs to be implemented during which decisions about if and when to implement the alternative must be made. This includes a planning stage, funding/financing stage, and construction and operation stage that translate into certain capital and operation and maintenance expenditures over the course of many years.
Depth damage function (DDF) | Depth damage functions are standardized analytical tools that show the relationship in damages to a structure/asset (on the Y axis) versus depth of flooding inundation (on the X axis). The functions are developed empirically using data from actual flood events, and therefore represent average relationships between damages and flood depths.
Direct benefit | This represents the primary benefit of each action from an economic point of view. This type of benefit can be easily given a direct monetary value (or monetized) as an avoided loss based on the extent of property and assets that are protected by the action. In order to permit economic analysis, it is essential to identify the direct benefit of each action alternative using a metric such as square feet of buildings, acres, or linear feet of shoreline protected. See also “avoided loss.”
Disbenefit | A negative effect of an action. A limitation or drawback.
Downscaling | Method that derives local- to regional-scale (typically 10 to 100 kilometers) information from larger-scale models or data analyses. For climate information, downscaling can be accomplished by either statistical or dynamical (regional climate model) means.
Dynamic sea level | Long-term changes in winds, air pressure, air-sea heat and freshwater fluxes, and ocean currents due to climate change that produce persistent trends in regional variations of global sea level.
Economic efficiency | Economic efficiency is a criterion for assessing an investment or intervention in an economy. An intervention is said to be economically efficient when it maximizes the value of output from the available resources.
Ecosystem services | Some alternative actions can provide natural environmental benefits, or “ecosystem services” benefits. There are four main classes of ecosystem services: Provisioning, Regulating, Supporting and Cultural. Monetizing the total economic value of ecosystem services is a means of accounting for the importance of ecosystems and the services they provide for human well- being, and can be used to demonstrate the value of a natural or restored ecosystem. As benefits that are valued by humans, ecosystem services can be broadly defined as socially economic value (TEV) framework, where TEV is comprised of both use value and non-use, or passive use, value (NRC, 2005; Freeman, 2003). valued aspects or outputs of ecosystems that depend on self-regulating or managed ecosystem structures and processes. Ecosystem services can directly and indirectly affect human wellbeing and ecosystem services themselves are interconnected. The economic value that individuals receive from ecosystem services can be described in a total
Emissions scenario | Emissions scenarios are greenhouse gas emissions (global carbon dioxide equivalents) projected trajectories, and are the product of complex dynamic systems. Emission scenarios are based on the interactions induced by forces such as global economic growth and production, demographic and socio- economic development, and technological change.
Ensemble | Grouping of models or model runs, often done to increase confidence in model run results.
Externality | Externalities as outputs involuntarily received or imposed on a person or group as a result of an action by another person or group and the recipient has no control of the output. Externalities (also referred to as external effects or spillovers) are an important class of outputs that may be classified as a benefit or disbenefit.
Extreme event (or extreme weather event) | Event that is rare within its statistical reference distribution at a particular place. Definitions of “rare” differ, but an extreme weather event would normally be as rare as or rarer than the 10th or 90th percentile. By definition, the characteristics of what is called “extreme weather” may differ from place to place. Extreme weather events may typically include floods and droughts.
Extreme water level (EWL) | Elevation of the sea surface defined with an exceedance probability curve as a function of the return period, which is the average length of time between exceedances of a given elevation. These are presented as mean distributions, as well as at specified confidence levels.
Facilities approaches (or facilities adaptation approaches) | Includes construction solutions such as building to a new standard that accounts for changing flood risk, constructing smaller scale built structures designed to protect an asset, such as a berm or flood wall, and making physical alterations to an existing asset to reduce flood damage. Retrofit techniques include flood proofing, retrofitting with flood-resistant materials, and physically relocating an asset or its vulnerable components out of the flood plain. Four examples are described in the Appendix D - Adaptation Action Alternatives Fact Sheets. See also “non-facilities approaches.”
Flooding | Flow of water, especially over land not typically submerged. Flooding can be caused by precipitation on land not able to absorb the volume, a river or stream overflowing its banks, or coastal storms that push water beyond normal daily tidal limits.
Glacial isostatic adjustment | Rebound of the Earth's crust causing changes in relative sea level, caused by a change in the local radius of the solid Earth.
Global sea level | The average height of all the Earth's oceans.
Global sea level rise | The increase currently observed in the average Global Sea Level Trend, which is primarily attributed to changes in ocean volume due to two factors: mass addition through ice melt and thermal expansion.
Green infrastructure | An approach to managing stormwater by mimicking natural processes. It replaces conventional piped drainage and water treatment systems, or "gray infrastructure," with vegetation, soils, and other elements of the landscape to manage stormwater at its source and integrates parks and open spaces, riparian corridors, wetlands, significant bodies of water, and other natural areas to create a system that provides habitat, flood protection, cleaner air, and cleaner water.
Greenhouse Gases (GHG) | Any of various gaseous compounds (such as carbon dioxide) that absorb infrared radiation, trap heat in the atmosphere, and contribute to the greenhouse effect. Water vapor, carbon dioxide, nitrous oxide, methane, and ozone are the primary GHGs in the Earth’s atmosphere.
Hazard | Hazards are natural events that threaten lives, property, and other assets. Typical hazards are floods, droughts, wildfires, earthquakes, hurricanes, tornadoes, windstorms, and tsunamis.
Hazard assessment | A hazard assessment is the process of evaluating your susceptibility and vulnerability to risks posed from multiple hazards. The hazard identification and risk assessment provides the factual basis for planning and remedial actions that may be formed into risk reduction strategies contained within a hazard mitigation plan. An effective risk assessment informs proposed actions by focusing attention and resources on the greatest risks. The four basic components of a risk assessment are: 1) hazard identification, 2) profiling of hazard events, 3) inventory of assets, and 4) estimation of potential human and economic losses based on the exposure and vulnerability of people, buildings, and infrastructure.
Ice melt effects | Gravitational and other changes to sea level due to the redistribution of land- based ice mass. As ice from glacier, ice caps, and ice sheets melts, gravitational pull on the ocean in the immediate area decreases, resulting in lowering of sea level in the vicinity of mass loss.
Impact | The positive or negative effect on the natural or built environment caused by exposure to a climate hazard. Climate hazards can have multiple impacts on people and communities, infrastructure and the services it provides, and ecosystems and natural resources.
Impact assessment | Practice of identifying and evaluating, in monetary and/or non-monetary terms, the effects of climate variability or change on natural and human systems. It is often a quantitative assessment, in which some degree of specificity is provided for the associated climate, environmental (biophysical) process, and impact models.
Indirect benefit | An indirect benefit is a type of benefit that arises from the direct benefit or is linked to it, but is not the primary focus of the management action.
Internal rate of return (IRR) | The rate that renders the present value of the cost stream (future annual costs) equal to the present value of the benefits stream (future annual benefits). The internal rate of return is compared to the project discount rate and must exceed it for the alternative to be economically feasible.
Life Cycle Cost Analysis (LCCA) | Technique applied to account for all anticipated costs of an action alternative during its various phases, including preliminary planning, construction, operations, and decommissioning activities.
Maladaptation | Maladaptation or maladaptive actions are actions that may lead to increased risk of adverse climate-related outcomes, increased vulnerability to climate change, or diminished welfare, now or in the future. Maladaptation can be actions taken ostensibly to avoid or reduce vulnerability to climate change that impacts adversely on, or increases the vulnerability of other systems, sectors or social groups (IPCC 2014).
Mean higher high water (MHHW) | The average of the higher high water height of each tidal day observed over the National Tidal Datum Epoch. For stations with shorter series, comparison of simultaneous observations with a control tide station is made in order to derive the equivalent datum of the National Tidal Datum Epoch.
Mean sea level (MSL) | Mean sea level as a tidal datum is computed as a mean of hourly water level heights observed over 19 years. Mean sea level also can be defined as an average sea level over a specified time, such as annual or monthly mean sea level.
Mitigation | Intervention to reduce the causes of changes in climate, such as through reducing emissions of greenhouse gases to the atmosphere and enhancing greenhouse gas sinks. A human intervention to reduce the sources or enhance the sinks of greenhouse gases.
National Climate Assessment | A report that collects, integrates, and assesses climate-related observations and research from around the United States, helping to understand changes in climate and what they mean. The report includes analyses of impacts on sectors and regions of the United States.
Natural infrastructure | Features of the land and water environments, including their biota and associated ecological processes that directly or indirectly support society.
Natural/Nature- based approaches | Natural features that can enhance resilience to climate change and includes such features as: dunes and beaches, vegetated features (i.e., salt marshes, wetlands, submerged aquatic vegetation), oyster and coral reefs, barrier islands, and maritime forests/shrub communities. Approaches can incorporate features that occur from a natural process or are the result of human engineering and construction.
Net present value (NPV) | The net present value is the absolute difference between the cumulative present value of benefits and the cumulative present value of costs.
Non-facilities approaches | Range of techniques that rely on changes in siting, management, or maintenance of infrastructure to reduce flood damage.
North American vertical datum | For North America, the surface of zero elevation to which heights of various points are referred in order that those heights be in a consistent system. More broadly, a vertical datum is the entire system of the zero elevation surface and methods of determining heights relative to that surface. The North American Vertical Datum of 1988 (NAVD88) is the vertical control datum established in 1991 by the minimum-constraint adjustment of the Canadian-Mexican-United States leveling observations. It held fixed the height of the primary tidal bench mark, referenced to the new International Great Lakes Datum of 1985 local mean sea level height value, at Father Point/Rimouski, Quebec, Canada. This allows for relationships between past and current geodetic vertical datums, as well as various water level/tidal datums (e.g., Mean High Water).
Nuisance flooding | Recurrent flooding that takes place at high tide.
Performance metric | A physical (as opposed to monetized) measure of a benefit resulting from an adaptation alternative. For example, such a measurement could be square feet of building structures protected or linear feet of shoreline protected, etc.
Pivot point | An external variable that has the potential to affect the cost effectiveness of an action alternative, potentially changing the choice of or timing of an action alternative.
Probabilistic projection | Estimates of future climate conditions that assign a probability level, or likelihood, to different climate outcomes. For example, a researcher might assert “there is a 90% probability that the annual average global temperature in 2100 will be 2° C higher than the temperature in 1900.”
Problem statement | Characterizes the type and magnitude of potential impacts to infrastructure in order to guide and bound the identification and evaluation of possible responses to potential impacts. The problem statement sets the goal of the adaptation strategy.
Project resource statement | A project resource statement is a summary statement of annual costs and benefits arrayed by year over time for a given action alternative. The project resource statement is used to calculate the adaptation intervention measures of merit.
Radiative forcing | Measure of the influence a factor has in altering the balance of incoming and outgoing energy in the earth-atmosphere system. Presence of GHG in the atmosphere changes the capacity of a square meter to retain or release radiative heat. It is also an index of the importance of the factor as a potential climate change mechanism. Thus, RCP 6.0 indicates that a square meter is now retaining 6.0 more watts per square meter than the 1750 baseline year used by the IPCC.
Reference datum | A geodetic datum or geodetic system is a coordinate system, and a set of reference points, used to locate places on the Earth.
Representative Concentration Pathway (RCP) | A set of four GHG concentration pathways (RCP 8.5, RCP 6.0 RCP 4.5 and RCP 2.6) intended to cover the range of climate scenarios reflected in scientific literature. The word “representative” signifies that each RCP provides only one of many possible scenarios that would lead to the specific radiative forcing (i.e., capacity to add warming) characteristics. The term “pathway” emphasizes that not only the long-term concentration levels are of interest, but also the trajectory taken over time to reach that outcome. Thus, RCP 8.5 represents a pathway for which radiative forcing reaches >8.5 watt per square meter (W/m2) by 2100.
Residual damages | Residual damages are unavoidable damages to a land area, structure, or asset that may be experienced even after climate proofing action alternatives offering a given level of protection (i.e., to withstand a 100 year event) have been implemented.
Resilience benefits | Resilience benefits is a collective term to describe the avoided damages (benefits) to structures, contents, and tangible assets that are usually measured by a depth damage function.
Resiliency | Ability to anticipate, prepare for, and adapt to changing conditions and withstand, respond to, and recover rapidly from disruptions.
Risk | Combination of the magnitude of the potential consequence(s) of climate change impact(s) and the likelihood that the consequence(s) will occur.
Scenario | A situation that details future plausible conditions in a manner that supports decision making under conditions of uncertainty, but does not predict future change that has an associated likelihood of occurrence.
Sea level change (SLC) | Change in sea level elevation, either rising or lowering, in relation to a specific point on land. Although sea levels are rising globally, some isolated areas are experiencing falling sea levels. Alaska is an example where, due to tectonic uplift, sea level is actually falling in relation to the land surface.
Sensitivity analysis | The analysis of possible or potential effects of adverse changes on a project. Values for variables and parameters used in the benefit cost analysis can be changed one at a time, or in combination, to assess how the alternative’s net present value or benefit cost ratio would be affected. The exercise can reveal the most important assumptions upon which the analysis is based and reveal those to which the outcome is most sensitive.
Special Report on Emissions Scenarios (SRES) | Report by the IPCC, published in 2000, containing GHG emissions scenarios used to make projections of possible future climate change in support of the 3rd and 4th IPCC Assessment Reports. SRES scenarios are labeled in families called A1, A2, B1, and B2 that reflect storylines or assumptions about future worldwide population, land use, economy, technology, and policy choices.
Storm surge | The rise of water generated by a storm, over and above the predicted astronomical tides. Typically, wind associated with a storm pushes water toward the shore, resulting in higher levels of water than experienced under normal tidal changes.
Structural approach | A type of adaptation action that employs a built structure such as a levee or storm surge barrier to alter the flow of floodwater to protect a large area from inundation.
Tidal epoch | Specific 19-year periods of time used to describe the 18.6-year lunar cycle. The United States currently uses the 1983 to 2001 National Tidal Datum Epoch (NTDE) for referencing all tidal datums and local mean sea level. The center year of the NTDE – 1992 – is the reference year from which inundation estimates from sea level rise are developed.
Total water level | Water level resulting from complex interactions between multiple oceanographic, hydrologic, geologic, and meteorological forcings that act over a wide range of scales. Important components include astronomical tide, wave set-up, wind set-up, large-scale storm surge, precipitation, fluvial discharges, monthly mean sea level anomalies, and land subsidence or uplift.
Vertical land movement (VLM) | Measured trends in vertical land motion due to a variety of factors, including response of the earth’s surface to the last ice age (modeled by Glacial Isostatic Adjustment [GIA] models), local uplift from isostatic rebound in glacial fjords, post-earthquake deformations, volcanism, and slow tectonic movement. Locally, land subsidence also can be due to withdrawal of hydrocarbons (oil and gas) and groundwater and local sediment compaction.
Vulnerability assessment | The process of measuring susceptibility to harm by evaluating the exposure, sensitivity and adaptive capacity of systems to climate change and related stressors.
Weather phenomenon | Weather is the day-to-day conditions of a particular place, usually described in terms of temperature, atmospheric pressure, wind, and moisture. A weather phenomenon is a short-term event, such as a snowfall or rainfall event. Other examples include storm surge, thunderstorms, tornado, and heat or cold waves.
Sources | "Climate Change Planning Handbook," Naval Facilities Engineering Command Headquarters, 2017
"Resilience Hubs White Paper," Urban Sustainability Directors Network, 2018